## Arkusz1
#VALUE! | Transformer Request Form
Project name:
Aplication:
Topology
Customer:
Contact Person:
Date:
Version:
Today:
Technical Data: |  |  |  | 4. Electrical Circuit
Parameters | Value | Unit | Desription
VIN_MIN |  | V | Minimum Input Voltage
VIN_NOM |  | V | Nominal Input Voltage - agreed that 750V will be most critical point
VIN_MAX |  | V
IIN_PEAK |  | A | Peak Input Current in Primary Winding
IIN_RMS |  | A | RMS Input Current in Primary Winding
POUT_PEAK |  |  | Max Output Power of Converter
POUT_NOM |  | kW | Nominal Power of Converter
VOUT_MIN |  |  | Minimum Output Voltage
VOUT_MIN |  |  | Nominal Output Voltage
VOUT_MIN |  |  | Minimum Output Voltage
IOUT_PEAK |  | A | Peak Current in Output Winding
IOUT_RMS |  | A | RMS Current in Output Winding
Switching Frequency |  | kHz | Switching Frequency
Duty Cycle (%) |  | % | Duty Cycle (%)
5. Main Curves
Turn Ratio |  |  | Turn Ratio | Full Power operation @xxxkHz for Vin=xxxV
LPRIM |  | uH | Primary Inductance - measure with open secondary
LR_PRIM |  | uH | Primary Leakage Inductance - measured with shorted secondary
LSEC |  | uH | Secondary Inductance - measure with open primary
LR_SEC |  | uH | Secondary Leakage Inductance - measure with shorted primary
Isolation
Safety Standard to fullfill
OC |  |  | Overvoltage Category
PD |  |  | Pollution Degree
Altitude |  | m.a.s.l | Altitude above see level
CLIN-CORE
CLIN-OUT |  | mm
CRIN-CORE |  |  | Creapage Input to Core
CRIN-OUT |  | mm | Creapage Input to Output for MG III
VPRIM_RMS |  | V | Max RMS Working Voltage to PE (chousing)
VPRIM_PEAK |  | V | Max Peak Working Voltage to PE (chousing) | Plot1: | BLUE: Primary Current | Plot1: | RED - Secondary winding current
VPRIM_SEC_RMS |  | V | Max RMS Voltage Accross Transformer |  | GREEN: Primary Transfomer Voltage |  | Blue - voltage between Output terminals
VPRIM_SEC_PEAK |  | V | Max PEAK Voltage Accross Transformer
Thermal
TS |  | °C | Storage Temperature
TAMB_MIN |  | °C
TAMB_MAX |  | °C | Operating Ambient Temperature - outside housing | Special Requirements
THEAKSINK |  | °C | Heatsink Temperature
Mechanical
Terminal Interface
Size (L x W x H)
Weight
Connection (Wire/SMD/PTH)